## Tabelle3
LabVIEW Examples showing use cases for B&H SPC-Modules
Type | mode | ExampleName | MultiModule | Reading Function | Sequencer | Saving | based on use_spcm | Graphic | StopCondition | repeat option
SPC Communication
| / | Intro-CheckConnection.vi | - | / | - | / |  | / | runs once | /
| / | Intro-ReadRatesFromModules.vi | × | / | - | / |  | / | user button | endless loop
| / | Data-ConvertSPCtoPH.vi | - | SPC_init_phot_stream | - | Ph_Write | part 4 | / | runs once | /
| / | RemoteControlFifoImage.vi | / | / | - | / |  | / | user button | endless loop
HW Histogram
| 0 | HWhist-SimpleSingleCurve.vi | - | SPC_read_block | - | / | part 0 | single decay curve | coltimer | start over
| 0 | HWhist-SingleCurve.vi | - | SPC_read_block | - | SPC_save_data_to_sdtfile + LV-csv |  | single decay curve | coltimer¦¦OVERFL | SW start over
| 0 | HWhist-SingleCurveMultiModule.vi | × | SPC_read_block | - | SPC_save_data_to_sdtfile + LV-csv |  | single decay curve per module | coltimer¦¦OVERFL | SW start over
| 0 | HWhist-TimeSeriesStrictTiming | × | SPC_read_data_page | × | SPC_save_data_to_sdtfile | part 1 | first decay per module / intensitystrips per module | coltimer&&Cycles ¦¦userbutton | start over loop
| 2 | HWhist-SimpleImageAcquisition-ScanSyncIn.vi | - | SPC_read_data_page | - | / | part 3 | sum of decays / intensity image | coltimer | start over loop
PC Memory
| 1 | EventStream-GetPhotonInfo.vi | - | SPC_get_photons_from_stream | - | / | part 5 | sum of decays / MCS timeline | coltimer¦¦#photon | start over loop
| 1 | EventStream-StoreToSPC.vi | - | SPC_read_fifo | - | SPCWriteFile.vi | part 4 | sum of decays | coltimer¦¦#photon | start over loop
| 1 | EventStream-Oscilloscope.vi | - | SPC_read_fifo | - | / |  | sum of decays / MCS timeline / intensitystrips timeline | user button | endless loop
| 5 | ImagingEventStream-SimpleFifoImage.vi | - | SPC_read_fifo | - | SDT_WriteFile.vi |  | sum of decays / intensity image | one frame | start over
only as .exe | 5 | ImagingEventStream-FifoImage.vi | - | SPC_read_fifo | - | SDT_WriteFile.vi |  | sum of decays / intensity image | coltimer¦¦frames¦¦ #photons at frame end | start over loop
File I/O
|  | SPCWriteFile.vi | [5 empty] | /
|  | SPCReadFile.vi | [5 empty] | sum of decays
|  | SPCWriteSETforSPC.vi | [5 empty] | /
|  | PhWrite.vi | [5 empty] | /
|  | PhRead.vi | [5 empty] | /
|  | SDT_WriteFile.vi | [5 empty] | /
|  | SDT_ReadFile.vi | [5 empty] | intensity image per block / sum of decays per block / decay block / fcs block